## Slide 1: Imaging-related considerations for early detection of pancreatic cancer
Eugene J. Koay, MD, PhD
Associate Professor
Dept. of Radiation Oncology
Sheikh Ahmed Center for Pancreatic Cancer Research
The University of Texas MD Anderson Cancer Center

## Slide 2: General steps for imaging
Acquisition
Reconstruction/post-processing
Visualization/interpretation/analysis

## Slide 3: Acquisition
Accounting for motion artifacts
Imaging technologies

## Slide 4: 4D CT scan
Infrared Reflector
Infrared Camera

## Slide 5
X-ray tube
PET det.
PET det.
CT det.
4D-CT Data Acquisition
Animation by: Tinsu Pan, Ph.D
Notes: One question we often get asked is how is the data taken, so his is a great illustration showing how the data is taken in order to have sets to convert into a 4D set. The scanner is used in axial mode but data collection is more analogous to spiral acquisition. Each couch position (2 cm) is sampled for greater than the one respiratory cycle. Showing inspiration

## Slide 6
X-ray tube
PET det.
PET det.
CT det.
4D-CT Data Acquisition
Notes: Patient starts breathing out

## Slide 7
X-ray tube
PET det.
PET det.
CT det.
4D-CT Data Acquisition
Notes: Full expiration is reached

## Slide 8
X-ray tube
PET det.
PET det.
CT det.
4D-CT Data Acquisition
Notes: Inspiration starts again

## Slide 9
X-ray tube
PET det.
PET det.
CT det.
4D-CT Data Acquisition
Notes: Full inspiration

## Slide 10
X-ray tube
PET det.
PET det.
CT det.
4D-CT Data Acquisition
Notes: Couch moves and CT is off for a moment

## Slide 11
X-ray tube
PET det.
PET det.
CT det.
4D-CT Data Acquisition
Notes: CT is on at about complete expiration

## Slide 12
X-ray tube
PET det.
PET det.
CT det.
4D-CT Data Acquisition
Notes: Expiration

## Slide 13
X-ray tube
PET det.
PET det.
CT det.
4D-CT Data Acquisition
Notes: Starting to inhale

## Slide 14
X-ray tube
PET det.
PET det.
CT det.
4D-CT Data Acquisition
Notes: Full inspiration

## Slide 15
Balter

## Slide 16: Dual energy CT: improving CNR
Gupta et al, Abd Imaging 2018
Patient 1
Patient 2
Iodine map
70 keV

## Slide 17: MRI: multiple anatomical and functional sequences
T1
T2
FSE/TSE
DCE
DWI
TRUFI
FIESTA
Many more

## Slide 18: Considerations with MRI
Time
Cost
Anatomical
Functional
What can we learn from other early detection programs?
Lee et al, Abdominal Radiology, 2018

## Slide 19: Reconstruction
Proprietary methods from vendors
Emerging methods us AI
Zhu et al, Nature, 2018

## Slide 20: High and low delta PDAC
Baseline image processing

## Slide 21: Simulations of tumor growth to identify biophysical subtypes
Koay et al, CCR 2018

## Slide 22
CT-based morphological
subtypes of PDAC

## Slide 23
CT-based biomarker outcomes

## Slide 24: Imaging-based subtypes and relevance to early detection strategies
Tumor doubling time (months)
High delta
Low delta
Distribution of high and low delta PDAC differs in those with early stage and late stage disease
The doubling time of high delta PDAC is faster than low delta PDAC

## Slide 25: Combining imaging-based biomarkers with liquid biopsies
Elganainy, Koay, et al, unpublished

## Slide 26: Multi-parametric enhancement pattern mapping (EPM)
Image processing for early detection and further characterization of liver and pancreatic lesions

## Slide 27
Concept for Enhancement Pattern Mapping

## Slide 28: Challenges and potential solutions with multiparametric image processing
Organ motion – CT acquisition with immobilization
Image overlay error – Deformable registration techniques
Comparison models – Quantitative models on patient-specific and population-based data

## Slide 29: CNR improved across a range of noise levels and tumor sizes using EPM
Chart: Mean CNR
| 1E-3 | 2E-3 | 4.0000000000000001E-3 | 6.0000000000000001E-3 | 8.0000000000000002E-3 | 0.01 | 1.2E-2 | 0.02 | 0.03 | 0.04
EPM | 4.9486 | 3.3801 | 2.3234 | 1.824 | 1.4826 | 1.4055 | 1.2857 | 1.0746 | 0.76866 | 0.79877

Phase 1 | 3.2398 | 2.291 | 1.6212 | 1.2867 | 1.0502 | 0.9762 | 0.90994 | 0.71573 | 0.5652 | 0.52727
Phase 2 | 2.7352 | 1.9036 | 1.3588 | 1.1533 | 1.0366 | 0.91121 | 0.80397 | 0.58534 | 0.44508 | 0.38
Phase 3 | 2.6925 | 1.942 | 1.4479 | 1.0678 | 0.8542 | 0.88701 | 0.77848 | 0.5991 | 0.48524 | 0.39644
Phase 4 | 2.6944 | 1.9872 | 1.3412 | 1.1495 | 0.9608 | 0.85723 | 0.76979 | 0.66687 | 0.38126 | 0.41622
Phase 5 | 2.7915 | 2.0176 | 1.3967 | 1.1013 | 0.95604 | 0.83689 | 0.77444 | 0.63868 | 0.50328 | 0.49674
Chart: Mean CNR
| 1 | 2 | 3 | 4 | 5 | 10 | 15 | 20 | 25 | 30
EPM | 0.79935 | 0.81012 | 1.0679 | 1.1921 | 1.2241 | 1.4034 | 1.4511 | 1.4904 | 1.5248 | 1.5122

Phase 1 | 0.75857 | 0.7097 | 0.76962 | 0.85846 | 0.7107 | 0.96288 | 1.0023 | 1.024 | 1.0388 | 1.0813
Phase 2 | 0.66735 | 0.69422 | 0.72522 | 0.69772 | 0.77463 | 0.81684 | 0.88187 | 0.90928 | 0.8909 | 0.91025
Phase 3 | 0.74211 | 0.6897 | 0.67896 | 0.69826 | 0.75453 | 0.8204 | 0.87941 | 0.89051 | 0.8923 | 0.89624
Phase 4 | 0.54789 | 0.68649 | 0.66266 | 0.72511 | 0.77046 | 0.851 | 0.87516 | 0.91111 | 0.90266 | 0.91207
Phase 5 | 0.71732 | 0.66606 | 0.77433 | 0.8081 | 0.90032 | 0.86952 | 0.84642 | 0.88588 | 0.90256 | 0.88036
Park, Koay et al, Med Phys 2019

## Slide 30: CNR improved in cholangiocarcinoma, HCC, and colorectal liver metastases
Park, Koay et al, Med Phys 2019

## Slide 31: Intratumoral heterogeneity with EPM
Peter Park, Danyal Smani

## Slide 32: Identifying the physical location of disease in the pancreas
81 y/o male with multifocal IPMN and increasing CA19-9
Peter Park

## Slide 33: EPM applied to IPMNs
Dalia Elganainy

## Slide 34: Auto-contouring of the pancreas using deep learning
Prediction
Ground truth
Brian Anderson, Kristy Brock

## Slide 35: Image processing for single contrast phase
Not all scans are amenable to EPM
Most imaging exams do not have a non-contrast phase
The textures of solid tumors are often noticeably different from parenchyma

## Slide 36
Gaussian Mixture Model:
Pancreatic duct and normal pancreas
Dalia Elganainy

## Slide 37
Gaussian Mixture Model:
Pancreatic adenocarcinoma
Dalia Elganainy

## Slide 38
Ongoing work: Correlating EPM with detailed pathology analyses
Tumor Cells
Lymphocytes
Fibroblasts
Mohamed Zaid

## Slide 39: Future directions
Multi-institutional Imaging repository
Pancreas and body composition measurements
Pancreas
EPM applied to
Multifocal IPMN

## Slide 40: Summary: Multiple considerations for imaging for early detection applications
Acquisition:
  Motion
  Imaging technologies
Reconstruction/post-processing:
  Artifacts
  Motion correction
  AI
Visualization/interpretation/analysis:
  Single phase
  Multiple phases
  Radiomics
  AI

## Slide 41: Acknowledgments
Mohamed Zaid
Dalia Elganainy
Ezgi Kirimli
Eric Tamm
Anirban Maitra
Subrata Sen
Ann Killary
NIH:
  EDRN
  MCL
  PCDC
  PSON
Project Purple
Khalifa Foundation
Sabin Family Fellowship
Pancreatic Cancer Action Network
SU2C and Lustgarten Foundation